## Instructions
Solar on Schools Toolkit
Solar PV Proforma - Direct Ownership
INSTRUCTIONS
A proforma is a financial model used to measure the potential future impacts of different business decisions. This Excel file contains assumptions about future expenses and revenues which the User can customize and then apply these assumptions in various formulas to show possible outcomes and help guide decisions. This proforma is for use by schools, nonprofits and others who want to better understand how the purchase of a solar PV system might save them in electricity costs over time. A second proforma was created for evaluating the financial impacts of a Power Purchase Agreement (PPA).
In addition to this Instructions page, please review the comments attached to various cells throughout the various tabs (click on the red triangle in the upper right corner of the cell). These comments provide additional information needed to properly complete the proforma.
Assumptions Tab
The place to begin is with the Assumptions tab. This page contains all of the key data points about the school, the site, system installation, contract prices, the expanded federal Solar Investment Tax Credit, future electricity costs, etc. All of the blue cells are assumptions which the User fills in using information about its solar project. Once you fill in the Assumptions, the spreadsheet will calculate the information shown on the other tabs (the Proforma and the three separate loan tabs).
Notice that most of the blue cells already show a value. These values reflect the consensus of the Solar on Schools team about reasonable values for a hypothetical 600 kW DC solar PV system. You are invited to replace these values if you have solid information about your own proposed solar system or otherwise have a reasonable basis for using a different assumption.
The major reason the Solar on Schools Toolkit project includes these two proformas (this one and the one for evaluating PPAs and leases) is that they give the school an important tool for understanding and negotiating a contract with a solar developer and for independently testing the financial projections of the solar developer. For example, one way unscrupulous developers would make projects look more attractive financially is to assume a high escalation rate for future electric utility prices. The proforma lets you enter your own assumptions about future electric prices so you can independently evaluate the financial outcomes of your project. A proforma can also be used to test different "what if" scenarios, such as is the school better off using tax exempt financing for part of the project cost (because tax-exempt financing reduces the ITC credit amount) or what happens to the project's viability if future SREC prices drop or end altogether.
Proforma Tab
The proforma page displays the model's results based on the assumptions entered on the Assumptions page. Notice that the proforma extends for 30 years, to capture the useful life of the PV modules. The first three lines of the proforma tab summarize key data for the project - annual electricity generation, the price of electricity and SREC prices. The next section shows different revenue streams for the project - the value of the electricity being offset and revenue from the sale of SRECs. This final section of the proforma page shows the financial results, including total energy cost savings, the Internal Rate of Return, the Net Present Value and the Debt Service Coverage Ratio.
Construction Financing tab / Bridge Financing tab / Permanent Financing tab
These three tabs are for the three types of financing likely to be part of a solar project. A construction loan is an interest-only, short-term loan to cover project construction costs during the construction period. Once the solar project is complete and placed in service, the construction loan is then converted into (1) a short-term bridge loan, an interest-only loan that provides capital which will later be reimbursed by the Elective Payment from the IRS under the Investment Tax Credit provisions and other grants that get paid some months after the solar system has been placed in service; and (2) a long-term permanent loan with fixed monthly payments of principle and interest. The Assumptions tab allows you to state the major characteristics of each loan (interest rate, term, etc.).
Be a Smart Negotiator
A solar project is a significant investment, so it pays to become educated about your options so you can negotiate terms that work best for your school. A solar construction contract contains many choices you need to make and there are trade-offs with all of them. How much project risk are you willing to take on, and how much risk do you wish to assign to others (at a price). For example, the sale of solar renewable energy credits ("SRECs") can be an important revenue stream for your project, but do you want to take on the work of registering and selling SRECs yourself, or would it be smarter to go through a broker who will do this work for you for a modest administrative fee?. Use this proforma to better understand these trade-offs so you can negotiate contracts that meet your needs and your priorities.
DISCLAIMER
The Solar on Schools Toolkit and this proforma were prepared by the Philadelphia Solar Energy Association for the Commonwealth of Pennsylvania's Department of Environmental Protection (DEP) and was supported by the United States Department of Energy, Office of Energy Efficiency and Renewable Energy, under State Energy Program Award Number EE0009485.
This proforma is designed as a tool to help schools understand the possible financial costs and benefits of a proposed solar project. Use of this proforma is in no way intended to be a replacement for professional advice. Schools are urged to seek the assistance of solar and financial professionals when considering solar.
Neither the U.S. Government nor the Commonwealth of Pennsylvania, nor any of their employees, makes any warranty, express or implied, or assumes any legal liability or responsibility for the accuracy, completeness, or usefulness of any information, apparatus, product, or process disclosed, or represents that its use would not infringe privately owned rights. Reference herein to any specific commercial product, process, or service by trade name, trademark, manufacturer, or otherwise does not necessarily constitute or imply its endorsement, recommendation, or favoring by the U.S. Government, the Commonwealth of Pennsylvania or any agency thereof. The views and opinions of authors expressed herein do not necessarily state or reflect those of the U.S. Government, the Commonwealth of Pennsylvania, or any agency thereof.

## Assumptions
Solar on Schools Toolkit - Solar PV Proforma - Direct Ownership |  |  |  | Date: | 2023-12-31
NOTE: Blue cells represent assumptions that can be changed. White cells are calculated and should not be overwritten except in rare occassions where the formula does not apply. |  |  |  | Author:
Project Name:
Project Location:
Electric Distribution Company:
Electrcity Generation Supplier:
Project Developer:
Solar Configuration: | Roof Mount
Optional System Budget Details:
System Assumptions |  | System Financing (Sources) |  | System Budget (Uses)
System Size (kWDC) | 600 | School Cash/Equity | 75000 | Hard costs
System Size (kWAC) | 480 | ITC Elective Payments | 828000 | Hardware (modules, inverters, etc.) | 0
Estimated Electrical Generation - kWh/kW | 1220 | Commonwealth of PA and other grants | 0 | Interconnection | 0
Estimated System Output - kWh (Year 1) | 732000 | Utility Commercial Solar Rebate (under Act 129 program) | 36600 | Installation Labor | 0
Annual PV Output Derate Factor | 0.5% | Taxable debt financing | 440400 | Hard cost contingency | 0
Estimated System Cost - $/wattDC | 2 | Tax-exempt debt or bond financing | 0 | Subtotal: Hard Costs | 0
Estimated System Hard Costs | 1200000 | TOTAL SOURCES | 1380000 | Soft Costs
Estimated System Soft Costs as % of project | 15% |  |  | Predevelopment
Estimated System Soft Costs | 180000 | System Financing (Uses) |  | System Design | 0
Total Estimated System Costs | 1380000 | Hard costs | 1200000 | 3rd party engineering | 0
|  | Soft costs | 180000 | Legal | 0
Electricity Price and Other Financial Assumptions |  | TOTAL USES | 1380000 | Permits | 0
Electricity price - $/kWh (energy only) - Year 1 | 0.085 |  |  | Interconnection | 0
Electricity price escalation - Years 1-5 | 1.5% | Debt financing assumptions |  | Financing
Electricity price escalation - Years 6-10 | 1.5% | Bridge financing interest rate | 6.5% | Loan Origination Fees | 0
Electricity price escalation - Years 11-15 | 1% | Construction financing interest rate | 6.5% | Lender Legal (loan documents) | 0
Electricity price escalation - Years 16-20 | 1% | Permanent Loan Maturity (years) | 20 | Document filing fees, etc. | 0
Electricity price escalation - Years 21-30 | 1% | Permanent Loan interest rate | 6.5% | Cost review / inspections | 0
Inflation Rate for Other Expenses | 2% | Debt Service Coverage Ratio (DSCR) | 1.2 | Construction Loan Interest | 0
Discount Rate | 5% |  |  | Bridge Loan Interest | 0
|  | Federal Solar Investment Tax Credit Elective Payment |  | Permanent Loan Interest | 0
Annual System Operating Expense Assumptions |  | Basis of Project for ITC purposes | 1380000 | Soft Cost Contingency | 0
O&M - $/yr per kWDC (w/ inverter replacement) | 16 | The 30% Credit |  | Subtotal: Soft Costs | 0
O&M Cost - Year 1 | 9600 | Are prevailing wage/apprenticeship requirements waived because the Project is less than 1 MWAC? | Yes | TOTAL USES | 0
Insurance - $ per $ of system cost | 0.0035 | If the Project is 1 MWAC and larger, are prevailing wage/apprenticeship requirements satisfied? | Not Applicable
Insurance Cost - Year 1 | 4200 | Does the Project satisfy the prevailing wage/apprenticeship requirements? | Yes
Project Management Fee - Year 0 | 0 | Base ITC credit in light of prevailing wage/apprenticeship requirements | 414000 | Project Phase / Milestones | Months in Stage before next Milestone | Milestone Completion Date | Construction Draw Payout at Milestone Completion as % of Project Cost | Construction Draw Payout at Milestone Completion as $ | Cumulative Construction Payout
Other Fees/Expenses - Year 1 | 0 | Dollar reduction due to failure to satisfy prevailing wage/apprenticeship | 0 | Solar Installer Contract Signed / Construction Loan Closing |  | 2024-03-31 | 2% | 27600 | 27600
Total annual operating expenses (Year 1) | 13800 | Percentage of project financed with tax-exempt financing | 0% | 60% Project Design submitted / Customer Approval / Application for Interconnection filed | 1 | 2024-04-30 | 10% | 138000 | 165600
|  | Dollar reduction due to tax-exempt financing | 0 | Interconnection approved / Building and Electrical Permits Filed / Equipment Ordered | 4 | 2024-08-31 | 25% | 345000 | 510600
Solar Renewable Energy Credits |  | How many dollars of Elective Payment does the Project qualify for under the Base Credit? | 414000 | Permits issued / Equipment received on site | 5 | 2025-01-31 | 23% | 317400 | 828000
Do you plan to retire the SRECs or sell them? | Sell | The Domestic Content 10% Adder |  | Mechanical completion / System Commissioning / Third-party Electrical Inspection | 3 | 2025-04-30 | 25% | 345000 | 1173000
Number of years SRECs are assumed to be available | 30 | Is all steel in the Project of US origin? | Yes | Permission to Operate / Placed in Service | 2 | 2025-06-30 | 15% | 207000 | 1380000
SREC value - Year 1 | 37.5 | What is the percentage of the total cost of all of the Project's “manufactured products” that need to be produced in the U.S. (depends on the year the solar project begins construction)? | 40% | Pay-off Date of Construction Loan / Conversion to Permanent Loan / Bridge Loan Closing | 0 | 2025-06-30
SREC value escalation - Years 1-5 | 2% | Does the percentage of the total cost of all of the Project's “manufactured products” produced in the U.S. satisfy the percentage in the cell directly above? | Yes |  |  | Checks: | 100% | 1380000
SREC value escalation - Years 6-10 | 2% | How many dollars of Elective Payment does the Project qualify for under the Domestic Content Adder? | 138000
SREC value escalation - Years 11-15 | 2% | The Energy Community 10% Adder
SREC value escalation - Years 16-20 | 2% | Is the Project located in a Census tract or adjacent to a census tract in which any coal mine has closed after December 31, 1999 or in which any coal power plant has been retired after December 31, 2009? | No | ITC Elective Payment / Utility Commercial Solar Rebate / Grants | Time from Placed-in-Service until Receipt of Funds | Date Funds Received | Month Funds Received | Project Year | Amount of Funds
Do you wish to assume SREC income beyond Year 20? | No | Is the Project located within a Metropolitan Statistical Area (“MSA”) and non-MSA where, after December 31, 2009, industries tied to fossil fuels have accounted for (a) at least 0.17% of direct employment or 25% of local tax revenue; and (b) where the unemployment rate is above the national average for the previous year? | No | Commonwealth of PA and other grants received | 6 | 2025-12-31 | 2025-12-31 | 1 | 0
SREC value escalation - Years 21-30 | 0% | Is the Project located on a Brownfield site that is not a Superfund site? | Yes | Utility Commercial Solar rebate under Act 129 program received | 8 | 2026-02-28 | 2026-02-28 | 1 | 36600
|  | How many dollars of Elective Payment does the Project qualify for under the Energy Community Adder? | 138000 | ITC Elective Payment received |  | 2026-07-15 | 2026-07-31 | 2 | 828000
The Low Income Community 10% Adder
|  | Has the Project been awarded Low Income Community status (requires application to US DOE for recognition as a Low Income Community) | Yes | Pay-off Date of Bridge Loan | 2026-07-15
|  | How many dollars of Elective Payment does the Project qualify for under the Low Income Community Adder? | 138000
|  | Total Federal Investment Tax Credit Elective Payment Dollars for Project | 828000 | Pay-off Date of Permanent Loan | 2045-06-30
Utility Act 129 Rebate
|  | Over the course of a year, how many kWh will be produced by the solar project in excess of on-site electricity usage? | 0
|  | What is the solar rebate per kWh offered by your electric utility? | 0.05
|  | Total Electric Utility Rebate | 36600
Commonwealth or Other Grant Support
|  | State support % | 0%
|  | Applicable basis | 515400
|  | Total Grants | 0
Note on H1: Enter the date of this draft of the proforma.
Note on H3: Enter the name of the person completing this proforma.
Note on A11: Your school may be shopping for electricity and purchases electricity from an Electricity Generation Supplier ("EGS"). If so, list your EGS here. It is critical to note that Pennsylvania's net metering regulations apply only to Electric Distribution Companies (the traditional electric utility), not EGSs. EGSs have no legal obligation to credit you with excess generation. Check with your EGS to determine how they will treat your solar project.
Note on A15: The typical configurations for solar are roof-mounted, ground-mounted, and parking canopy. Use the pull-down menu to select.
Note on G17: You can use this version of the Project budget if you have a more detailed budget proposal from your solar installer. If not, just use the Project budget figures calculated in the System Assumptions table to the left.
Note on D18: Sources are all of the different means for paying for the solar project, including cash, federal Investment Tax Credit, electric utility commercial solar incentive, other grants and rebates, and taxable and tax-exempt financing.
Note on D19: A modest cash contribution is reasonable, especially for some of the up-front predevelopment expenses before the project is firm enough to justify the work of securing financing.
Note on A21: The proforma uses the statewide average of annual kWh generated per kWDC of solar. This figure varies throughout the state. Check the table in the Solar on Schools Toolkit for these figures. Or use the free onlune PVWatts tool from the National Renewable Energy Lab to estimate project output. Or better yet, use the estimate of production from the solar contractor.
Note on A22: If you have an output estimate from the solar installer, use it instead of the default formula.
Note on A23: Over time, PV modules degrade and produce less electricity than when they were new. One half of one percent per year is typical, but some modules have a different derate factor.
Note on A24: This figure is an important metric for evaluating a system's cost.
Note on D24: If your school district is planning to issue a school bond and your project can be included, this may apply. Otherwise, $0 is a good assumption. Use the proforma to determine whether the reduction in interest on a tax-exempt financing is sufficient to offset the reduction in the Investment Tax Credit that happens when a solar project is financed in whole or in part by tax-exempt financing. For example, if a solar project is totally financed by tax exempt financing, the base ITC credit is reduced from 30% to 25.5%. See the section below to calculate the impact of using tax-exempt financing.
Note on A25: If you have a system price from the solar installer, use it instead of the default formula.
Note on A26: Typical project soft costs include predevelopment and financing costs, as listed in G24:G36. If you do not have an estimate of soft costs from the solar installer, a 15% figure is a reasonable approximation.
Note on A31: Use the energy price only for your electricity price and for any costs that are based on kWh usage (such as the Gross Receipts Tax). Do not take your annual electric bill and divide by the number of kWh to calculate your electricity price. Your electric bill includes fixed customer charges that are definately not offset by the solar, as well as demand charges that may in some months be reduced by solar but in most months will not be affected by your solar project. If you overstate the value of the electricity offset by your solar project, you will overstate the economic value of the project. You can find energy price or generation price on your electric bill.
Note on A32: Electricity escalation rates can be set differently for different time periods if you chose. These escalation rates in the price of electric energy is from US DOE estimates and is lower than many people would estimate.
Note on A37: This inflation rate is for other non-electricity prices, such as O&M costs, insurance, etc.
Note on D37: The DSCR is am important metric for lenders as it reflects how much the project revenues exceed the project's expenses. Lenders will look at DSCR to help quantidfy the loan's risk and the borrower's capacity to repay the loan. This proforma looks at the economics of just the solar project, not the entire school district budget.
Note on A38: The Discount Rate is used to estimate the value of an investment based on its expected future cash flows. Because a school has access to low-cost capital, the suggested discount rate is lower than for typical for corporate anaylsis.
Note on A41: This figure is based on NREL's Annual Technology Baseline report for medium-size commercial PV systems and includes inverter replacement costs.
Note on A43: The solar project will likely impact your insurance policy. Look both at liability and for system damage. Insurance rates for roof-mount systems are higher than the rates for ground-mount or other configurations. Insurance costs also are less when the solar policy is part of a larger insurance policy and not stand-alone. The accepted minimum cost of insurance is $3,000 per year, even for smaller systems. Check with your insurance carrier for an estimate of insurance rates.
Note on A44: Per the comment above, the formula to the right shows a minimum cost of $3,000 when the formula would suggest a lower cost.
Note on A45: You may want an outside consultant to help oversee the project during development, for the first few years of operation, or for the term.
Note on G45: The solar installer's proposal or proposed contract should list the key project milestones.
Note on I45: You only need to insert the date when the solar contract is expected to be signed. The dates of the subsequent milestones are calculated based on the assumed months needed for each stage of the project.
Note on J45: The solar installer's proposal or proposed contract will state the percentages of the contract price to be paid upon the completion of each of the project milestones.
Note on A46: This cell is for listing any additional project fees or expenses. One such expense might be the cost of maintaining a real-time display of project output for informational and educational purposes.
Note on G46: Solar installation contracts may be structured in different ways. This table of project milestones is a default list, but should be modified to match the actual contract being proposed. Note that the first milestone also includes the closing of the Construction Loan. The Construction Loan will be a short-term, interest-only loan for the full Project cost minus whatever cash equity the school is putting into the project. When the Project is Placed in Service, the Construction Loan will be converted into a long-term Permanent Loan for that portion of the Project costs not included in a short-term Bridge Loan, which will be in the amount of the federal Investment Tax credit, the utility commercial solar rebate and all grants the project will receive. The Bridge Loan will be paid off when those tax credits, rebates and grants are received, while the Permanent Loan typically has a much longer term.
Note on H48: Be realistic about the time needed for interconnection approval by the local utility. Check with your solar installer and the local utility to determine an accurate estimate of the time needed for approval.
Note on H49: Be realistic about how long it will take to begin construction. Factors which cause construction delay include: construction resources are in high demand; some solar products - especially transformers and switchgear have long delivery times; and permit approvals can take quite some time.
Note on A50: Schools have three choices for handling the SRECs their solar project generates: (1) The SRECs can be retired and not monotized. This enables the school to claim it is using solar electricity to power the school in any official reporting of greenhouse gas emissions. If the SRECs are sold, the school no longer holds the environmental attributes and cannot claim the solar production for purposes of environmental accounting, meeting greenhouse gas emission targets or publicizing that you are powered by solar. See the Federal Trade Commission's Guides for the Use of Environmental Marketing Claims, Part § 260.15 - Renewable Energy Claims, Example 5. Retirement of the SRECs obviously zeros-out any potential revenue from the sale of the SRECs. (2) The SRECs can be assigned to the solar developer or some other broker. This alternative shifts the risk of SREC pricing and the hassle of SREC sales off of the school, but at a likely discount from SREC market prices. (3) The school can register the SRECS with the PJM, and sell the SRECs as they are produced. The school will receive the full value of the SRECs but will also bear the risk of falling SREC prices and must undertake the work of registering and selling the SRECs.
Note on G50: Mechanical completion is when all system components have been installed. System Commissioning is the solar installer testing the operation of the completed system. Third-Party Electrical Inspection is when an inspector other than the solar installer inspects and tests the completed system.
Note on A51: These cellls allow you to show the SREC future you expect to see in terms of price escalation and duration of SREC benefits. The assumption is that SRECs or their equivalent will be available for the full 20 year life of the system, but you can change that if you wish to be more conservative.
Note on G51: The Permission to Operate date, or what is sometimes called the Placed in Service date, is when the local distribution company has inspected and approved the system and approves the interconnection and delivery of electricity.
Note on B52: The assumption shown is the average market value as reported by SRECTrade for Pennsylvania SRECs throughout 2023. You can check SREC market prices in Pennsylvania at https://www.srectrade.com.
Note on H52: By entering "0" the assumption is made that the bridge loan and the permanent loan will close and the construction loan will be paid off at the same time the Project is Placed in Service.
Note on A53: SREC value escalation rates can be set differently for different time periods if you chose. Factors to consider in setting these escalation rates include whether Pennsylvania amends its Alternative Energy Portfolio Standards Act, whether Pennsylvania fully joins the Regional Greenhouse Gas Initiative, whether the US adopts a nationwide renewable portfolion standard, carbon pricing or other regulatory responses to climate change.
Note on D54: To qualify for the full 10% domestic content adder, the Project's steel must be of US origin and the total cost of the Project's manufactured products must meet the required percentage of US origin. If the prevailing wage/apprenticeship requirement is not satisfied, the domestic adder drops from 10% to 2%.
Note on A57: A conservative answer, given the long-term uncertainty about future policy, would be "No"; but if you feel SRECs or something like them will extend far into the future, answer "Yes." If you are retiring the SRECs, the answer to this question is irrelevant.
Note on H57: The grantees for any grants will establish the requirements for and timing of the receipt of payment for the grants. Check with the grantees for details about the timing of payment.
Note on H58: The utility will determine the requirements for and timing of the pay-out of the solar rebate. This generally requires some months of system operation before the rebate is paid. Check with the utility for details.
Note on G59: The ITC elective payment can be claimed in the federal tax return filed for the tax year in which the Project is Placed in Service. For example, is the project is completed in 2025, the 2025 tax return is generally filed (or can be filed) on April 15, 2026, and the IRS is expected to pay the Elective Payment three months after the tax return is filed.
Note on G61: Bridge loan is paid off as the ITC Elective Payment, the utility solar rebate, and any grants are received. Each has a different set of requirements for payment and payment will be received at different times.
Note on D66: The utility Act 129 rebates are for electricity generated by a solar project that are consumed on site. Any generation over the couse of a year in excess of on-site usage is not included in calculating the rebate amount. Usually solar systems are sized to meet on-site usage, but sometimes systems may be over-sized in anticipation of future usage growth from electrication or facility modifications.
Note on D67: The Act 129 solar rebates vary by utility. See the Solar on School Toolkit for information about current rebate levels for different utilities.
Note on D70: As noted in the Solar on Schools Tooklit, the Commonwealth of Pennsylvania is considering a number of new and existing programs to support solar projects using federal Inflation Reduction Act and federal Infrastructure and Investment Act funds as well as other dollars. Or the Project may qualify for a grant from another source. This section is a placeholder for including this grant support in the financial sources for your solar project. This section is drafted with the assumption that the grant is calculated as a percentage of the portion of project costs not covered by other assistance (in this example the federal ITC Elective Payment and the utility Act 129 solar rebate). If this formula is not applicable, simply insert the grant amount in the "Total" cell.

## Proforma
Solar on Schools Toolkit - Solar PV Proforma Direct Ownership | [9 empty] | Date: | 2023-12-31
Placed in Service Date: | 2025-06-30
Project Year: | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
From: | 2024-03-31 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01 | 2042-07-01 | 2043-07-01 | 2044-07-01 | 2045-07-01 | 2046-07-01 | 2047-07-01 | 2048-07-01 | 2049-07-01 | 2050-07-01 | 2051-07-01 | 2052-07-01 | 2053-07-01 | 2054-07-01
To: | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30 | 2035-06-30 | 2036-06-30 | 2037-06-30 | 2038-06-30 | 2039-06-30 | 2040-06-30 | 2041-06-30 | 2042-06-30 | 2043-06-30 | 2044-06-30 | 2045-06-30 | 2046-06-30 | 2047-06-30 | 2048-06-30 | 2049-06-30 | 2050-06-30 | 2051-06-30 | 2052-06-30 | 2053-06-30 | 2054-06-30 | 2055-06-30
KEY ASSUMPTIONS
kWh delivered | 0 | 732000 | 728340 | 724698.3 | 721074.8085 | 717469.4345 | 713882.0873 | 710312.6768 | 706761.1135 | 703227.3079 | 699711.1714 | 696212.6155 | 692731.5524 | 689267.8947 | 685821.5552 | 682392.4474 | 678980.4852 | 675585.5827 | 672207.6548 | 668846.6166 | 665502.3835 | 662174.8716 | 658863.9972 | 655569.6772 | 652291.8288 | 649030.3697 | 645785.2178 | 642556.2917 | 639343.5103 | 636146.7927 | 632966.0588
Default Electricity Price per kWh | 0 | 0.085 | 0.086275 | 0.087569 | 0.088883 | 0.090216 | 0.091569 | 0.092943 | 0.094337 | 0.095752 | 0.097188 | 0.09816 | 0.099142 | 0.10013 | 0.10113 | 0.10215 | 0.10317 | 0.1042 | 0.10524 | 0.10629 | 0.10736 | 0.10843 | 0.10951 | 0.11061 | 0.11172 | 0.11283 | 0.11396 | 0.1151 | 0.11625 | 0.11741 | 0.11859
SREC price per MWh | 0 | 37.5 | 38.25 | 39.015 | 39.7953 | 40.5912 | 41.403 | 42.2311 | 43.0757 | 43.9372 | 44.816 | 45.7123 | 46.6265 | 47.5591 | 48.5102 | 49.4805 | 50.4701 | 51.4795 | 52.5091 | 53.5592 | 54.6304 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M contract | 0 | 9600 | 9792 | 9987.84 | 10187.5968 | 10391.3487 | 10599.1757 | 10811.1592 | 11027.3824 | 11247.9301 | 11472.8887 | 11702.3464 | 11936.3934 | 12175.1212 | 12418.6237 | 12666.9961 | 12920.336 | 13178.7428 | 13442.3176 | 13711.164 | 13985.3873 | 14265.095 | 14550.3969 | 14841.4048 | 15138.2329 | 15440.9976 | 15749.8175 | 16064.8139 | 16386.1102 | 16713.8324 | 17048.109
Insurance | 0 | 4200 | 4284 | 4369.68 | 4457.0736 | 4546.2151 | 4637.1394 | 4729.8822 | 4824.4798 | 4920.9694 | 5019.3888 | 5119.7766 | 5222.1721 | 5326.6155 | 5433.1478 | 5541.8108 | 5652.647 | 5765.7 | 5881.014 | 5998.6342 | 6118.6069 | 6240.9791 | 6365.7986 | 6493.1146 | 6622.9769 | 6755.4364 | 6890.5452 | 7028.3561 | 7168.9232 | 7312.3017 | 7458.5477
Project Management Fee | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Fees/Expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REVENUE
Electric bill savings | 0 | 62220 | 62837.5335 | 63461.196 | 64091.0484 | 64727.152 | 65369.569 | 66018.362 | 66673.5942 | 67335.3297 | 68003.6328 | 68340.2508 | 68678.535 | 69018.4938 | 69360.1353 | 69703.468 | 70048.5002 | 70395.2402 | 70743.6967 | 71093.878 | 71445.7927 | 71799.4494 | 72154.8566 | 72512.0232 | 72870.9577 | 73231.6689 | 73594.1657 | 73958.4568 | 74324.5512 | 74692.4577 | 75062.1854
SREC revenue | 0 | 27450 | 27859.005 | 28274.1042 | 28695.3883 | 29122.9496 | 29556.8816 | 29997.2791 | 30444.2386 | 30897.8577 | 31358.2358 | 31825.4735 | 32299.6731 | 32780.9382 | 33269.3742 | 33765.0878 | 34268.1877 | 34778.7836 | 35296.9875 | 35822.9126 | 36356.674 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Commonwealth and other grants | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility Act 129 solar rebate | 0 | 36600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITC Elective Payment | 0 | 0 | 828000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other project revenue - specify | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Subtotal: Revenue | 0 | 126270 | 918696.5385 | 91735.3002 | 92786.4367 | 93850.1017 | 94926.4506 | 96015.6411 | 97117.8328 | 98233.1874 | 99361.8686 | 100165.7243 | 100978.2081 | 101799.432 | 102629.5095 | 103468.5558 | 104316.6878 | 105174.0239 | 106040.6842 | 106916.7906 | 107802.4667 | 71799.4494 | 72154.8566 | 72512.0232 | 72870.9577 | 73231.6689 | 73594.1657 | 73958.4568 | 74324.5512 | 74692.4577 | 75062.1854
EXPENSES
Cash contribution | 75000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Construction Financing interest payments | 38239.0667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bridge Financing interest payments | 0 | 37778.2167 | 20332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bridge Financing principal repayments | 0 | 36600 | 828000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Permanent Financing debt service payments | 0 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 39402.0491 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M contract | 0 | 9600 | 9792 | 9987.84 | 10187.5968 | 10391.3487 | 10599.1757 | 10811.1592 | 11027.3824 | 11247.9301 | 11472.8887 | 11702.3464 | 11936.3934 | 12175.1212 | 12418.6237 | 12666.9961 | 12920.336 | 13178.7428 | 13442.3176 | 13711.164 | 13985.3873 | 14265.095 | 14550.3969 | 14841.4048 | 15138.2329 | 15440.9976 | 15749.8175 | 16064.8139 | 16386.1102 | 16713.8324 | 17048.109
Insurance | 0 | 4200 | 4284 | 4369.68 | 4457.0736 | 4546.2151 | 4637.1394 | 4729.8822 | 4824.4798 | 4920.9694 | 5019.3888 | 5119.7766 | 5222.1721 | 5326.6155 | 5433.1478 | 5541.8108 | 5652.647 | 5765.7 | 5881.014 | 5998.6342 | 6118.6069 | 6240.9791 | 6365.7986 | 6493.1146 | 6622.9769 | 6755.4364 | 6890.5452 | 7028.3561 | 7168.9232 | 7312.3017 | 7458.5477
Project Management Fee | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Fees/Expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Subtotal: Expenses | 113239.0667 | 127580.2657 | 901810.0491 | 53759.5691 | 54046.7195 | 54339.6129 | 54638.3641 | 54943.0905 | 55253.9113 | 55570.9485 | 55894.3265 | 56224.1721 | 56560.6145 | 56903.7858 | 57253.8206 | 57610.856 | 57975.0321 | 58346.4918 | 58725.3807 | 59111.8473 | 59506.0432 | 20506.0741 | 20916.1955 | 21334.5195 | 21761.2098 | 22196.434 | 22640.3627 | 23093.17 | 23555.0334 | 24026.134 | 24506.6567
NET ANNUAL SAVINGS | -113239.0667 | -1310.2657 | 16886.4894 | 37975.7311 | 38739.7173 | 39510.4888 | 40288.0864 | 41072.5506 | 41863.9215 | 42662.2389 | 43467.5421 | 43941.5522 | 44417.5936 | 44895.6461 | 45375.6889 | 45857.6998 | 46341.6557 | 46827.5321 | 47315.3036 | 47804.9433 | 48296.4235 | 51293.3753 | 51238.6611 | 51177.5037 | 51109.7478 | 51035.2349 | 50953.803 | 50865.2868 | 50769.5178 | 50666.3236 | 50555.5286
Discount rate | bar: 2025-06-30 to 2055-06-30
Discount factors | 0.99986 | 0.95225 | 0.90691 | 0.86372 | 0.82259 | 0.78342 | 0.74611 | 0.71059 | 0.67675 | 0.64452 | 0.61383 | 0.5846 | 0.55676 | 0.53025 | 0.505 | 0.48095 | 0.45805 | 0.43624 | 0.41546 | 0.39568 | 0.37684 | 0.35889 | 0.3418 | 0.32553 | 0.31003 | 0.29526 | 0.2812 | 0.26781 | 0.25506 | 0.24291 | 0.0021915
Discounted cash flows | -113223.7206 | -1247.703 | 15314.468 | 32800.4187 | 31866.9421 | 30953.3065 | 30059.5162 | 29185.5392 | 28331.31 | 27496.7327 | 26681.6838 | 25688.2338 | 24730.0263 | 23805.8931 | 22914.7005 | 22055.3484 | 21226.7694 | 20427.9284 | 19657.8215 | 18915.4756 | 18199.9473 | 18408.8703 | 17513.5559 | 16659.6687 | 15845.3451 | 15068.8039 | 14328.343 | 13622.3352 | 12949.2258 | 12307.5288 | 110.7928
Cumulative cash flows | -113239.0667 | -114549.3324 | -97662.843 | -59687.1118 | -20947.3946 | 18563.0942 | 58851.1806 | 99923.7313 | 141787.6528 | 184449.8917 | 227917.4338 | 271858.986 | 316276.5796 | 361172.2257 | 406547.9147 | 452405.6145 | 498747.2702 | 545574.8023 | 592890.1058 | 640695.0492 | 688991.4726 | 740284.8479 | 791523.509 | 842701.0127 | 893810.7605 | 944845.9954 | 995799.7984 | 1046665.0852 | 1097434.603 | 1148100.9266 | 1198656.4553
Permanent Financing Debt Service Coverage Ratio (DSCR) |  | 1.9255 | 1.9446 | 1.9638 | 1.9832 | 2.0028 | 2.0225 | 2.0424 | 2.0625 | 2.0827 | 2.1032 | 2.1152 | 2.1273 | 2.1394 | 2.1516 | 2.1638 | 2.1761 | 2.1885 | 2.2008 | 2.2133 | 2.2257
Net Present Value (NPV) | 2025-06-30: 496508.9367
Internal Rate of Return (IRR) | 2025-06-30: 24.13%
TOTAL SAVINGS OVER 30 YEARS | 2025-06-30: 1198656.4553
Total Levelized Cost of Electricity ($/kWh) | 2025-06-30: 0.082781
Value of Energy Generated ($/kWh) | 2025-06-30: 0.073446
Note on A12: If the school is planning to sell the SRECs, the value is shown based on the value and escalation rates shown in the Assumptions tab, but if the school is planning to retire the SRECs (which is the case if the school is crediting the solar production in any sort of official greenhouse gas emissions reporting), the value is shown as $0.

## Construction Financing
Construction Financing - Interest-Only Debt Schedule
Key Assumptions (from Assumptions tab)
| Construction Loan Amount: | 1305000
| Annual Interest rate: | 6.5%
| Daily Interest rate: | 0.01806%
| Construction Loan Closing Date: | 2024-04-30
| Construction Loan Payoff Date: | 2025-06-30 |  | Total Interest Owed: | 38239.0667
Project Phase / Milestones | Construction Draw Payout Date | End of Month for Construction Draw Payout Date | Project Year | Construction Draw Payout at Milestone Completion as $ | School Equity Used for Draw Payout | Construction Loan Used for Draw Payout | Outstanding Principal / Cumulative Construction Loan Payout | # of Days | Interest Owed for Project Phase
Solar Installer Contract Signed / Construction Loan Closing | 2024-03-31 | 2024-03-31 | 0 | 27600 | 27600 | 0 | 0 | 30 | 0
60% Project Design submitted / Customer Approval / Application for Interconnection filed | 2024-04-30 | 2024-04-30 | 0 | 138000 | 47400 | 90600 | 90600 | 123 | 2012.075
Interconnection approved / Building and Electrical Permits Filed / Equipment Ordered | 2024-08-31 | 2024-08-31 | 0 | 345000 | 0 | 345000 | 435600 | 153 | 12033.45
Permits issued / Equipment received on site | 2025-01-31 | 2025-01-31 | 0 | 317400 | 0 | 317400 | 753000 | 89 | 12100.2917
Mechanical completion / System Commissioning / Third-party Electrical Inspection | 2025-04-30 | 2025-04-30 | 0 | 345000 | 0 | 345000 | 1098000 | 61 | 12093.25
Permission to Operate / Placed in Service | 2025-06-30 | 2025-06-30 | 1 | 207000 | 0 | 207000 | 1305000 | 0 | 0
Pay-off Date of Construction Loan | 2025-06-30 | 2025-06-30 | 1 | TOTALS: | 75000 | 1305000 |  |  | 38239.0667
Note on B6: The Daily Interest Rate calculation is based on a 360 day year, which is standard practice.
Note on F11: To reduce the interest on the construction loan, the school's equity is used first to pay the construction draws.

## Bridge Financing
Bridge Financing - Interest-Only Debt Schedule
Key Assumptions (from Assumptions tab)
| Bridge Loan Amount: | 864600
| Interest rate: | 6.5%
| Daily Interest rate: | 0.01806%
| Bridge Loan Closing Date: | 2025-06-30
| Grants Amount: | 0
| Grants Received: | 2025-12-31
| Utility Solar Rebate Amount: | 36600
| Utility Solar Rebate Received: | 2026-02-28
| ITC Elective Payment Amount: | 828000
| ITC Elective Payment Received: | 2026-07-15
| Bridge Loan Payoff Date: | 2026-07-15 |  | Total Interest Owed: | 58110.2167
Bridge Loan Period | Start Date of Period | End Date of Period | End of Month for End Date of Period | Project Year | Bridge Loan Outstanding Principal | # of Days | Interest Accumulated | Lump Sum Repayment Amount at End of Period
1. From Bridge Loan Drawdown to Immediately Prior to First Lump-Sum Repayment of Principal (likely any Grants) | 2025-06-30 | 2025-12-31 | 2025-12-31 | 1 | 864600 | 184 | 28723.9333 | 0
2. From First Lump-Sum Repayment to Immediately Prior to Second Lump-Sum Repayment (likely the utility solar rebate) | 2026-01-01 | 2026-02-28 | 2026-02-28 | 1 | 864600 | 58 | 9054.2833 | 36600
3. From Second Lump-Sum Repayment to Immediately Prior to Third Lump-Sum Repayment (likely the ITC Elective Payment) | 2026-03-01 | 2026-07-15 | 2026-07-31 | 2 | 828000 | 136 | 20332 | 828000
4. Bridge Loan Pay-off | 2026-07-15 | 2026-07-15 | 2026-07-31 | 2 | 0 | Total Interest Accumulated: | 58110.2167
Formulas:
Start Date of Period = DATE(YEAR([End Date of Period, row above]), MONTH([End Date of Period, row above]), DAY([End Date of Period, row above]) + 1)
Start Date of Period = [End Date of Period, row above]
End Date of Period = [Start Date of Period]
End of Month for End Date of Period = EOMONTH([End Date of Period],0)
Note on C7: The Daily Interest Rate calculation is based on a 360 day year, which is standard practice.

## Permanent Financing
Permanent Financing - Term Debt Schedule
Key Assumptions (from Assumptions tab)
|  | Permanent Loan Amount: | 440400 |  | Total Principle Paid: | 440400
|  | Term (years): | 20 |  | Total Interest Paid: | 347640.9813
|  | Interest rate: | 6.5% |  | Total P&I Paid: | 788040.9813
|  | Start of Permanent Loan: | 2025-06-30
|  | Payoff of Permanent Loan: | 2045-06-30
Project Year | Period | Year | Month | Debt balance start | Debt draws | Prin. Payments | Interest Payments | P&I Payments | Debt balance end
1 | 1 | 2025 | 2025-06-30 | 0 | 440400 | 898.0041 | 2385.5 | 3283.5041 | 439501.9959
1 | 2 | 2025 | 2025-07-31 | 439501.9959 | 0 | 902.8683 | 2380.6358 | 3283.5041 | 438599.1276
1 | 3 | 2025 | 2025-08-31 | 438599.1276 | 0 | 907.7588 | 2375.7453 | 3283.5041 | 437691.3688
1 | 4 | 2025 | 2025-09-30 | 437691.3688 | 0 | 912.6758 | 2370.8282 | 3283.5041 | 436778.693
1 | 5 | 2025 | 2025-10-31 | 436778.693 | 0 | 917.6195 | 2365.8846 | 3283.5041 | 435861.0735
1 | 6 | 2025 | 2025-11-30 | 435861.0735 | 0 | 922.5899 | 2360.9141 | 3283.5041 | 434938.4835
1 | 7 | 2025 | 2025-12-31 | 434938.4835 | 0 | 927.5873 | 2355.9168 | 3283.5041 | 434010.8962
1 | 8 | 2026 | 2026-01-31 | 434010.8962 | 0 | 932.6117 | 2350.8924 | 3283.5041 | 433078.2845
1 | 9 | 2026 | 2026-02-28 | 433078.2845 | 0 | 937.6634 | 2345.8407 | 3283.5041 | 432140.6211
1 | 10 | 2026 | 2026-03-31 | 432140.6211 | 0 | 942.7424 | 2340.7617 | 3283.5041 | 431197.8787
1 | 11 | 2026 | 2026-04-30 | 431197.8787 | 0 | 947.8489 | 2335.6552 | 3283.5041 | 430250.0298
1 | 12 | 2026 | 2026-05-31 | 430250.0298 | 0 | 952.9831 | 2330.521 | 3283.5041 | 429297.0467
2 | 13 | 2026 | 2026-06-30 | 429297.0467 | 0 | 958.1451 | 2325.359 | 3283.5041 | 428338.9016
2 | 14 | 2026 | 2026-07-31 | 428338.9016 | 0 | 963.335 | 2320.1691 | 3283.5041 | 427375.5666
2 | 15 | 2026 | 2026-08-31 | 427375.5666 | 0 | 968.5531 | 2314.951 | 3283.5041 | 426407.0135
2 | 16 | 2026 | 2026-09-30 | 426407.0135 | 0 | 973.7994 | 2309.7047 | 3283.5041 | 425433.2141
2 | 17 | 2026 | 2026-10-31 | 425433.2141 | 0 | 979.0742 | 2304.4299 | 3283.5041 | 424454.1399
2 | 18 | 2026 | 2026-11-30 | 424454.1399 | 0 | 984.3775 | 2299.1266 | 3283.5041 | 423469.7624
2 | 19 | 2026 | 2026-12-31 | 423469.7624 | 0 | 989.7095 | 2293.7945 | 3283.5041 | 422480.0528
2 | 20 | 2027 | 2027-01-31 | 422480.0528 | 0 | 995.0705 | 2288.4336 | 3283.5041 | 421484.9824
2 | 21 | 2027 | 2027-02-28 | 421484.9824 | 0 | 1000.4604 | 2283.0437 | 3283.5041 | 420484.5219
2 | 22 | 2027 | 2027-03-31 | 420484.5219 | 0 | 1005.8796 | 2277.6245 | 3283.5041 | 419478.6423
2 | 23 | 2027 | 2027-04-30 | 419478.6423 | 0 | 1011.3281 | 2272.176 | 3283.5041 | 418467.3142
2 | 24 | 2027 | 2027-05-31 | 418467.3142 | 0 | 1016.8061 | 2266.698 | 3283.5041 | 417450.5081
3 | 25 | 2027 | 2027-06-30 | 417450.5081 | 0 | 1022.3138 | 2261.1903 | 3283.5041 | 416428.1943
3 | 26 | 2027 | 2027-07-31 | 416428.1943 | 0 | 1027.8514 | 2255.6527 | 3283.5041 | 415400.3429
3 | 27 | 2027 | 2027-08-31 | 415400.3429 | 0 | 1033.4189 | 2250.0852 | 3283.5041 | 414366.924
3 | 28 | 2027 | 2027-09-30 | 414366.924 | 0 | 1039.0166 | 2244.4875 | 3283.5041 | 413327.9074
3 | 29 | 2027 | 2027-10-31 | 413327.9074 | 0 | 1044.6446 | 2238.8595 | 3283.5041 | 412283.2628
3 | 30 | 2027 | 2027-11-30 | 412283.2628 | 0 | 1050.3031 | 2233.201 | 3283.5041 | 411232.9597
3 | 31 | 2027 | 2027-12-31 | 411232.9597 | 0 | 1055.9922 | 2227.5119 | 3283.5041 | 410176.9675
3 | 32 | 2028 | 2028-01-31 | 410176.9675 | 0 | 1061.7122 | 2221.7919 | 3283.5041 | 409115.2553
3 | 33 | 2028 | 2028-02-29 | 409115.2553 | 0 | 1067.4631 | 2216.041 | 3283.5041 | 408047.7922
3 | 34 | 2028 | 2028-03-31 | 408047.7922 | 0 | 1073.2452 | 2210.2589 | 3283.5041 | 406974.547
3 | 35 | 2028 | 2028-04-30 | 406974.547 | 0 | 1079.0586 | 2204.4455 | 3283.5041 | 405895.4884
3 | 36 | 2028 | 2028-05-31 | 405895.4884 | 0 | 1084.9035 | 2198.6006 | 3283.5041 | 404810.5848
4 | 37 | 2028 | 2028-06-30 | 404810.5848 | 0 | 1090.7801 | 2192.724 | 3283.5041 | 403719.8048
4 | 38 | 2028 | 2028-07-31 | 403719.8048 | 0 | 1096.6885 | 2186.8156 | 3283.5041 | 402623.1163
4 | 39 | 2028 | 2028-08-31 | 402623.1163 | 0 | 1102.6289 | 2180.8752 | 3283.5041 | 401520.4874
4 | 40 | 2028 | 2028-09-30 | 401520.4874 | 0 | 1108.6014 | 2174.9026 | 3283.5041 | 400411.8859
4 | 41 | 2028 | 2028-10-31 | 400411.8859 | 0 | 1114.6064 | 2168.8977 | 3283.5041 | 399297.2796
4 | 42 | 2028 | 2028-11-30 | 399297.2796 | 0 | 1120.6438 | 2162.8603 | 3283.5041 | 398176.6358
4 | 43 | 2028 | 2028-12-31 | 398176.6358 | 0 | 1126.714 | 2156.7901 | 3283.5041 | 397049.9218
4 | 44 | 2029 | 2029-01-31 | 397049.9218 | 0 | 1132.817 | 2150.6871 | 3283.5041 | 395917.1048
4 | 45 | 2029 | 2029-02-28 | 395917.1048 | 0 | 1138.9531 | 2144.551 | 3283.5041 | 394778.1517
4 | 46 | 2029 | 2029-03-31 | 394778.1517 | 0 | 1145.1224 | 2138.3817 | 3283.5041 | 393633.0292
4 | 47 | 2029 | 2029-04-30 | 393633.0292 | 0 | 1151.3252 | 2132.1789 | 3283.5041 | 392481.704
4 | 48 | 2029 | 2029-05-31 | 392481.704 | 0 | 1157.5615 | 2125.9426 | 3283.5041 | 391324.1425
5 | 49 | 2029 | 2029-06-30 | 391324.1425 | 0 | 1163.8317 | 2119.6724 | 3283.5041 | 390160.3109
5 | 50 | 2029 | 2029-07-31 | 390160.3109 | 0 | 1170.1357 | 2113.3684 | 3283.5041 | 388990.1751
5 | 51 | 2029 | 2029-08-31 | 388990.1751 | 0 | 1176.474 | 2107.0301 | 3283.5041 | 387813.7012
5 | 52 | 2029 | 2029-09-30 | 387813.7012 | 0 | 1182.8465 | 2100.6575 | 3283.5041 | 386630.8546
5 | 53 | 2029 | 2029-10-31 | 386630.8546 | 0 | 1189.2536 | 2094.2505 | 3283.5041 | 385441.601
5 | 54 | 2029 | 2029-11-30 | 385441.601 | 0 | 1195.6954 | 2087.8087 | 3283.5041 | 384245.9056
5 | 55 | 2029 | 2029-12-31 | 384245.9056 | 0 | 1202.1721 | 2081.332 | 3283.5041 | 383043.7335
5 | 56 | 2030 | 2030-01-31 | 383043.7335 | 0 | 1208.6839 | 2074.8202 | 3283.5041 | 381835.0496
5 | 57 | 2030 | 2030-02-28 | 381835.0496 | 0 | 1215.2309 | 2068.2732 | 3283.5041 | 380619.8187
5 | 58 | 2030 | 2030-03-31 | 380619.8187 | 0 | 1221.8134 | 2061.6907 | 3283.5041 | 379398.0053
5 | 59 | 2030 | 2030-04-30 | 379398.0053 | 0 | 1228.4316 | 2055.0725 | 3283.5041 | 378169.5737
5 | 60 | 2030 | 2030-05-31 | 378169.5737 | 0 | 1235.0856 | 2048.4185 | 3283.5041 | 376934.4882
6 | 61 | 2030 | 2030-06-30 | 376934.4882 | 0 | 1241.7756 | 2041.7285 | 3283.5041 | 375692.7126
6 | 62 | 2030 | 2030-07-31 | 375692.7126 | 0 | 1248.5019 | 2035.0022 | 3283.5041 | 374444.2107
6 | 63 | 2030 | 2030-08-31 | 374444.2107 | 0 | 1255.2646 | 2028.2395 | 3283.5041 | 373188.9461
6 | 64 | 2030 | 2030-09-30 | 373188.9461 | 0 | 1262.064 | 2021.4401 | 3283.5041 | 371926.8821
6 | 65 | 2030 | 2030-10-31 | 371926.8821 | 0 | 1268.9001 | 2014.6039 | 3283.5041 | 370657.9819
6 | 66 | 2030 | 2030-11-30 | 370657.9819 | 0 | 1275.7734 | 2007.7307 | 3283.5041 | 369382.2086
6 | 67 | 2030 | 2030-12-31 | 369382.2086 | 0 | 1282.6838 | 2000.8203 | 3283.5041 | 368099.5248
6 | 68 | 2031 | 2031-01-31 | 368099.5248 | 0 | 1289.6317 | 1993.8724 | 3283.5041 | 366809.8931
6 | 69 | 2031 | 2031-02-28 | 366809.8931 | 0 | 1296.6172 | 1986.8869 | 3283.5041 | 365513.276
6 | 70 | 2031 | 2031-03-31 | 365513.276 | 0 | 1303.6405 | 1979.8636 | 3283.5041 | 364209.6355
6 | 71 | 2031 | 2031-04-30 | 364209.6355 | 0 | 1310.7019 | 1972.8022 | 3283.5041 | 362898.9336
6 | 72 | 2031 | 2031-05-31 | 362898.9336 | 0 | 1317.8015 | 1965.7026 | 3283.5041 | 361581.132
7 | 73 | 2031 | 2031-06-30 | 361581.132 | 0 | 1324.9396 | 1958.5645 | 3283.5041 | 360256.1924
7 | 74 | 2031 | 2031-07-31 | 360256.1924 | 0 | 1332.1164 | 1951.3877 | 3283.5041 | 358924.076
7 | 75 | 2031 | 2031-08-31 | 358924.076 | 0 | 1339.332 | 1944.1721 | 3283.5041 | 357584.744
7 | 76 | 2031 | 2031-09-30 | 357584.744 | 0 | 1346.5867 | 1936.9174 | 3283.5041 | 356238.1573
7 | 77 | 2031 | 2031-10-31 | 356238.1573 | 0 | 1353.8807 | 1929.6234 | 3283.5041 | 354884.2765
7 | 78 | 2031 | 2031-11-30 | 354884.2765 | 0 | 1361.2143 | 1922.2898 | 3283.5041 | 353523.0623
7 | 79 | 2031 | 2031-12-31 | 353523.0623 | 0 | 1368.5875 | 1914.9166 | 3283.5041 | 352154.4748
7 | 80 | 2032 | 2032-01-31 | 352154.4748 | 0 | 1376.0007 | 1907.5034 | 3283.5041 | 350778.4741
7 | 81 | 2032 | 2032-02-29 | 350778.4741 | 0 | 1383.454 | 1900.0501 | 3283.5041 | 349395.0201
7 | 82 | 2032 | 2032-03-31 | 349395.0201 | 0 | 1390.9477 | 1892.5564 | 3283.5041 | 348004.0724
7 | 83 | 2032 | 2032-04-30 | 348004.0724 | 0 | 1398.482 | 1885.0221 | 3283.5041 | 346605.5903
7 | 84 | 2032 | 2032-05-31 | 346605.5903 | 0 | 1406.0571 | 1877.4469 | 3283.5041 | 345199.5332
8 | 85 | 2032 | 2032-06-30 | 345199.5332 | 0 | 1413.6733 | 1869.8308 | 3283.5041 | 343785.8599
8 | 86 | 2032 | 2032-07-31 | 343785.8599 | 0 | 1421.3307 | 1862.1734 | 3283.5041 | 342364.5292
8 | 87 | 2032 | 2032-08-31 | 342364.5292 | 0 | 1429.0296 | 1854.4745 | 3283.5041 | 340935.4997
8 | 88 | 2032 | 2032-09-30 | 340935.4997 | 0 | 1436.7701 | 1846.734 | 3283.5041 | 339498.7295
8 | 89 | 2032 | 2032-10-31 | 339498.7295 | 0 | 1444.5526 | 1838.9515 | 3283.5041 | 338054.1769
8 | 90 | 2032 | 2032-11-30 | 338054.1769 | 0 | 1452.3773 | 1831.1268 | 3283.5041 | 336601.7996
8 | 91 | 2032 | 2032-12-31 | 336601.7996 | 0 | 1460.2443 | 1823.2597 | 3283.5041 | 335141.5553
8 | 92 | 2033 | 2033-01-31 | 335141.5553 | 0 | 1468.154 | 1815.3501 | 3283.5041 | 333673.4013
8 | 93 | 2033 | 2033-02-28 | 333673.4013 | 0 | 1476.1065 | 1807.3976 | 3283.5041 | 332197.2948
8 | 94 | 2033 | 2033-03-31 | 332197.2948 | 0 | 1484.1021 | 1799.402 | 3283.5041 | 330713.1927
8 | 95 | 2033 | 2033-04-30 | 330713.1927 | 0 | 1492.141 | 1791.3631 | 3283.5041 | 329221.0517
8 | 96 | 2033 | 2033-05-31 | 329221.0517 | 0 | 1500.2234 | 1783.2807 | 3283.5041 | 327720.8283
9 | 97 | 2033 | 2033-06-30 | 327720.8283 | 0 | 1508.3496 | 1775.1545 | 3283.5041 | 326212.4787
9 | 98 | 2033 | 2033-07-31 | 326212.4787 | 0 | 1516.5198 | 1766.9843 | 3283.5041 | 324695.9589
9 | 99 | 2033 | 2033-08-31 | 324695.9589 | 0 | 1524.7343 | 1758.7698 | 3283.5041 | 323171.2246
9 | 100 | 2033 | 2033-09-30 | 323171.2246 | 0 | 1532.9933 | 1750.5108 | 3283.5041 | 321638.2313
9 | 101 | 2033 | 2033-10-31 | 321638.2313 | 0 | 1541.297 | 1742.2071 | 3283.5041 | 320096.9343
9 | 102 | 2033 | 2033-11-30 | 320096.9343 | 0 | 1549.6457 | 1733.8584 | 3283.5041 | 318547.2886
9 | 103 | 2033 | 2033-12-31 | 318547.2886 | 0 | 1558.0396 | 1725.4645 | 3283.5041 | 316989.249
9 | 104 | 2034 | 2034-01-31 | 316989.249 | 0 | 1566.479 | 1717.0251 | 3283.5041 | 315422.77
9 | 105 | 2034 | 2034-02-28 | 315422.77 | 0 | 1574.9641 | 1708.54 | 3283.5041 | 313847.8059
9 | 106 | 2034 | 2034-03-31 | 313847.8059 | 0 | 1583.4951 | 1700.0089 | 3283.5041 | 312264.3108
9 | 107 | 2034 | 2034-04-30 | 312264.3108 | 0 | 1592.0724 | 1691.4317 | 3283.5041 | 310672.2384
9 | 108 | 2034 | 2034-05-31 | 310672.2384 | 0 | 1600.6961 | 1682.808 | 3283.5041 | 309071.5422
10 | 109 | 2034 | 2034-06-30 | 309071.5422 | 0 | 1609.3666 | 1674.1375 | 3283.5041 | 307462.1757
10 | 110 | 2034 | 2034-07-31 | 307462.1757 | 0 | 1618.084 | 1665.4201 | 3283.5041 | 305844.0917
10 | 111 | 2034 | 2034-08-31 | 305844.0917 | 0 | 1626.8486 | 1656.6555 | 3283.5041 | 304217.2431
10 | 112 | 2034 | 2034-09-30 | 304217.2431 | 0 | 1635.6607 | 1647.8434 | 3283.5041 | 302581.5824
10 | 113 | 2034 | 2034-10-31 | 302581.5824 | 0 | 1644.5205 | 1638.9836 | 3283.5041 | 300937.0619
10 | 114 | 2034 | 2034-11-30 | 300937.0619 | 0 | 1653.4283 | 1630.0758 | 3283.5041 | 299283.6336
10 | 115 | 2034 | 2034-12-31 | 299283.6336 | 0 | 1662.3844 | 1621.1197 | 3283.5041 | 297621.2492
10 | 116 | 2035 | 2035-01-31 | 297621.2492 | 0 | 1671.389 | 1612.1151 | 3283.5041 | 295949.8602
10 | 117 | 2035 | 2035-02-28 | 295949.8602 | 0 | 1680.4423 | 1603.0617 | 3283.5041 | 294269.4178
10 | 118 | 2035 | 2035-03-31 | 294269.4178 | 0 | 1689.5447 | 1593.9593 | 3283.5041 | 292579.8731
10 | 119 | 2035 | 2035-04-30 | 292579.8731 | 0 | 1698.6964 | 1584.8076 | 3283.5041 | 290881.1766
10 | 120 | 2035 | 2035-05-31 | 290881.1766 | 0 | 1707.8977 | 1575.6064 | 3283.5041 | 289173.2789
11 | 121 | 2035 | 2035-06-30 | 289173.2789 | 0 | 1717.1488 | 1566.3553 | 3283.5041 | 287456.1301
11 | 122 | 2035 | 2035-07-31 | 287456.1301 | 0 | 1726.4501 | 1557.054 | 3283.5041 | 285729.68
11 | 123 | 2035 | 2035-08-31 | 285729.68 | 0 | 1735.8017 | 1547.7024 | 3283.5041 | 283993.8784
11 | 124 | 2035 | 2035-09-30 | 283993.8784 | 0 | 1745.2039 | 1538.3002 | 3283.5041 | 282248.6745
11 | 125 | 2035 | 2035-10-31 | 282248.6745 | 0 | 1754.6571 | 1528.847 | 3283.5041 | 280494.0174
11 | 126 | 2035 | 2035-11-30 | 280494.0174 | 0 | 1764.1615 | 1519.3426 | 3283.5041 | 278729.8559
11 | 127 | 2035 | 2035-12-31 | 278729.8559 | 0 | 1773.7174 | 1509.7867 | 3283.5041 | 276956.1385
11 | 128 | 2036 | 2036-01-31 | 276956.1385 | 0 | 1783.325 | 1500.1791 | 3283.5041 | 275172.8135
11 | 129 | 2036 | 2036-02-29 | 275172.8135 | 0 | 1792.9847 | 1490.5194 | 3283.5041 | 273379.8288
11 | 130 | 2036 | 2036-03-31 | 273379.8288 | 0 | 1802.6967 | 1480.8074 | 3283.5041 | 271577.1321
11 | 131 | 2036 | 2036-04-30 | 271577.1321 | 0 | 1812.4613 | 1471.0428 | 3283.5041 | 269764.6709
11 | 132 | 2036 | 2036-05-31 | 269764.6709 | 0 | 1822.2788 | 1461.2253 | 3283.5041 | 267942.3921
12 | 133 | 2036 | 2036-06-30 | 267942.3921 | 0 | 1832.1495 | 1451.3546 | 3283.5041 | 266110.2426
12 | 134 | 2036 | 2036-07-31 | 266110.2426 | 0 | 1842.0736 | 1441.4305 | 3283.5041 | 264268.169
12 | 135 | 2036 | 2036-08-31 | 264268.169 | 0 | 1852.0515 | 1431.4526 | 3283.5041 | 262416.1175
12 | 136 | 2036 | 2036-09-30 | 262416.1175 | 0 | 1862.0835 | 1421.4206 | 3283.5041 | 260554.034
12 | 137 | 2036 | 2036-10-31 | 260554.034 | 0 | 1872.1697 | 1411.3344 | 3283.5041 | 258681.8643
12 | 138 | 2036 | 2036-11-30 | 258681.8643 | 0 | 1882.3107 | 1401.1934 | 3283.5041 | 256799.5536
12 | 139 | 2036 | 2036-12-31 | 256799.5536 | 0 | 1892.5065 | 1390.9976 | 3283.5041 | 254907.0471
12 | 140 | 2037 | 2037-01-31 | 254907.0471 | 0 | 1902.7576 | 1380.7465 | 3283.5041 | 253004.2895
12 | 141 | 2037 | 2037-02-28 | 253004.2895 | 0 | 1913.0642 | 1370.4399 | 3283.5041 | 251091.2254
12 | 142 | 2037 | 2037-03-31 | 251091.2254 | 0 | 1923.4266 | 1360.0775 | 3283.5041 | 249167.7987
12 | 143 | 2037 | 2037-04-30 | 249167.7987 | 0 | 1933.8452 | 1349.6589 | 3283.5041 | 247233.9536
12 | 144 | 2037 | 2037-05-31 | 247233.9536 | 0 | 1944.3202 | 1339.1839 | 3283.5041 | 245289.6334
13 | 145 | 2037 | 2037-06-30 | 245289.6334 | 0 | 1954.8519 | 1328.6522 | 3283.5041 | 243334.7815
13 | 146 | 2037 | 2037-07-31 | 243334.7815 | 0 | 1965.4407 | 1318.0634 | 3283.5041 | 241369.3408
13 | 147 | 2037 | 2037-08-31 | 241369.3408 | 0 | 1976.0868 | 1307.4173 | 3283.5041 | 239393.254
13 | 148 | 2037 | 2037-09-30 | 239393.254 | 0 | 1986.7906 | 1296.7135 | 3283.5041 | 237406.4633
13 | 149 | 2037 | 2037-10-31 | 237406.4633 | 0 | 1997.5524 | 1285.9517 | 3283.5041 | 235408.9109
13 | 150 | 2037 | 2037-11-30 | 235408.9109 | 0 | 2008.3725 | 1275.1316 | 3283.5041 | 233400.5384
13 | 151 | 2037 | 2037-12-31 | 233400.5384 | 0 | 2019.2512 | 1264.2529 | 3283.5041 | 231381.2873
13 | 152 | 2038 | 2038-01-31 | 231381.2873 | 0 | 2030.1888 | 1253.3153 | 3283.5041 | 229351.0985
13 | 153 | 2038 | 2038-02-28 | 229351.0985 | 0 | 2041.1856 | 1242.3185 | 3283.5041 | 227309.9128
13 | 154 | 2038 | 2038-03-31 | 227309.9128 | 0 | 2052.2421 | 1231.262 | 3283.5041 | 225257.6708
13 | 155 | 2038 | 2038-04-30 | 225257.6708 | 0 | 2063.3584 | 1220.1457 | 3283.5041 | 223194.3124
13 | 156 | 2038 | 2038-05-31 | 223194.3124 | 0 | 2074.5349 | 1208.9692 | 3283.5041 | 221119.7775
14 | 157 | 2038 | 2038-06-30 | 221119.7775 | 0 | 2085.772 | 1197.7321 | 3283.5041 | 219034.0055
14 | 158 | 2038 | 2038-07-31 | 219034.0055 | 0 | 2097.0699 | 1186.4342 | 3283.5041 | 216936.9357
14 | 159 | 2038 | 2038-08-31 | 216936.9357 | 0 | 2108.429 | 1175.0751 | 3283.5041 | 214828.5066
14 | 160 | 2038 | 2038-09-30 | 214828.5066 | 0 | 2119.8497 | 1163.6544 | 3283.5041 | 212708.657
14 | 161 | 2038 | 2038-10-31 | 212708.657 | 0 | 2131.3322 | 1152.1719 | 3283.5041 | 210577.3248
14 | 162 | 2038 | 2038-11-30 | 210577.3248 | 0 | 2142.8769 | 1140.6272 | 3283.5041 | 208434.4478
14 | 163 | 2038 | 2038-12-31 | 208434.4478 | 0 | 2154.4842 | 1129.0199 | 3283.5041 | 206279.9637
14 | 164 | 2039 | 2039-01-31 | 206279.9637 | 0 | 2166.1543 | 1117.3498 | 3283.5041 | 204113.8094
14 | 165 | 2039 | 2039-02-28 | 204113.8094 | 0 | 2177.8876 | 1105.6165 | 3283.5041 | 201935.9218
14 | 166 | 2039 | 2039-03-31 | 201935.9218 | 0 | 2189.6845 | 1093.8196 | 3283.5041 | 199746.2373
14 | 167 | 2039 | 2039-04-30 | 199746.2373 | 0 | 2201.5453 | 1081.9588 | 3283.5041 | 197544.692
14 | 168 | 2039 | 2039-05-31 | 197544.692 | 0 | 2213.4703 | 1070.0337 | 3283.5041 | 195331.2216
15 | 169 | 2039 | 2039-06-30 | 195331.2216 | 0 | 2225.46 | 1058.0441 | 3283.5041 | 193105.7617
15 | 170 | 2039 | 2039-07-31 | 193105.7617 | 0 | 2237.5145 | 1045.9895 | 3283.5041 | 190868.2471
15 | 171 | 2039 | 2039-08-31 | 190868.2471 | 0 | 2249.6344 | 1033.8697 | 3283.5041 | 188618.6127
15 | 172 | 2039 | 2039-09-30 | 188618.6127 | 0 | 2261.8199 | 1021.6842 | 3283.5041 | 186356.7928
15 | 173 | 2039 | 2039-10-31 | 186356.7928 | 0 | 2274.0715 | 1009.4326 | 3283.5041 | 184082.7213
15 | 174 | 2039 | 2039-11-30 | 184082.7213 | 0 | 2286.3893 | 997.1147 | 3283.5041 | 181796.3319
15 | 175 | 2039 | 2039-12-31 | 181796.3319 | 0 | 2298.774 | 984.7301 | 3283.5041 | 179497.558
15 | 176 | 2040 | 2040-01-31 | 179497.558 | 0 | 2311.2256 | 972.2784 | 3283.5041 | 177186.3323
15 | 177 | 2040 | 2040-02-29 | 177186.3323 | 0 | 2323.7448 | 959.7593 | 3283.5041 | 174862.5875
15 | 178 | 2040 | 2040-03-31 | 174862.5875 | 0 | 2336.3317 | 947.1723 | 3283.5041 | 172526.2558
15 | 179 | 2040 | 2040-04-30 | 172526.2558 | 0 | 2348.9869 | 934.5172 | 3283.5041 | 170177.2689
15 | 180 | 2040 | 2040-05-31 | 170177.2689 | 0 | 2361.7105 | 921.7935 | 3283.5041 | 167815.5584
16 | 181 | 2040 | 2040-06-30 | 167815.5584 | 0 | 2374.5031 | 909.0009 | 3283.5041 | 165441.0552
16 | 182 | 2040 | 2040-07-31 | 165441.0552 | 0 | 2387.365 | 896.139 | 3283.5041 | 163053.6902
16 | 183 | 2040 | 2040-08-31 | 163053.6902 | 0 | 2400.2966 | 883.2075 | 3283.5041 | 160653.3936
16 | 184 | 2040 | 2040-09-30 | 160653.3936 | 0 | 2413.2982 | 870.2059 | 3283.5041 | 158240.0954
16 | 185 | 2040 | 2040-10-31 | 158240.0954 | 0 | 2426.3702 | 857.1339 | 3283.5041 | 155813.7252
16 | 186 | 2040 | 2040-11-30 | 155813.7252 | 0 | 2439.5131 | 843.991 | 3283.5041 | 153374.2121
16 | 187 | 2040 | 2040-12-31 | 153374.2121 | 0 | 2452.7271 | 830.777 | 3283.5041 | 150921.485
16 | 188 | 2041 | 2041-01-31 | 150921.485 | 0 | 2466.0127 | 817.4914 | 3283.5041 | 148455.4723
16 | 189 | 2041 | 2041-02-28 | 148455.4723 | 0 | 2479.3703 | 804.1338 | 3283.5041 | 145976.102
16 | 190 | 2041 | 2041-03-31 | 145976.102 | 0 | 2492.8002 | 790.7039 | 3283.5041 | 143483.3018
16 | 191 | 2041 | 2041-04-30 | 143483.3018 | 0 | 2506.3029 | 777.2012 | 3283.5041 | 140976.9989
16 | 192 | 2041 | 2041-05-31 | 140976.9989 | 0 | 2519.8787 | 763.6254 | 3283.5041 | 138457.1202
17 | 193 | 2041 | 2041-06-30 | 138457.1202 | 0 | 2533.528 | 749.9761 | 3283.5041 | 135923.5922
17 | 194 | 2041 | 2041-07-31 | 135923.5922 | 0 | 2547.2513 | 736.2528 | 3283.5041 | 133376.3409
17 | 195 | 2041 | 2041-08-31 | 133376.3409 | 0 | 2561.0489 | 722.4552 | 3283.5041 | 130815.292
17 | 196 | 2041 | 2041-09-30 | 130815.292 | 0 | 2574.9213 | 708.5828 | 3283.5041 | 128240.3707
17 | 197 | 2041 | 2041-10-31 | 128240.3707 | 0 | 2588.8687 | 694.6353 | 3283.5041 | 125651.502
17 | 198 | 2041 | 2041-11-30 | 125651.502 | 0 | 2602.8918 | 680.6123 | 3283.5041 | 123048.6102
17 | 199 | 2041 | 2041-12-31 | 123048.6102 | 0 | 2616.9908 | 666.5133 | 3283.5041 | 120431.6194
17 | 200 | 2042 | 2042-01-31 | 120431.6194 | 0 | 2631.1662 | 652.3379 | 3283.5041 | 117800.4533
17 | 201 | 2042 | 2042-02-28 | 117800.4533 | 0 | 2645.4183 | 638.0858 | 3283.5041 | 115155.035
17 | 202 | 2042 | 2042-03-31 | 115155.035 | 0 | 2659.7476 | 623.7564 | 3283.5041 | 112495.2873
17 | 203 | 2042 | 2042-04-30 | 112495.2873 | 0 | 2674.1546 | 609.3495 | 3283.5041 | 109821.1327
17 | 204 | 2042 | 2042-05-31 | 109821.1327 | 0 | 2688.6396 | 594.8645 | 3283.5041 | 107132.4931
18 | 205 | 2042 | 2042-06-30 | 107132.4931 | 0 | 2703.2031 | 580.301 | 3283.5041 | 104429.29
18 | 206 | 2042 | 2042-07-31 | 104429.29 | 0 | 2717.8454 | 565.6587 | 3283.5041 | 101711.4446
18 | 207 | 2042 | 2042-08-31 | 101711.4446 | 0 | 2732.5671 | 550.937 | 3283.5041 | 98978.8775
18 | 208 | 2042 | 2042-09-30 | 98978.8775 | 0 | 2747.3685 | 536.1356 | 3283.5041 | 96231.509
18 | 209 | 2042 | 2042-10-31 | 96231.509 | 0 | 2762.2501 | 521.254 | 3283.5041 | 93469.2589
18 | 210 | 2042 | 2042-11-30 | 93469.2589 | 0 | 2777.2123 | 506.2918 | 3283.5041 | 90692.0466
18 | 211 | 2042 | 2042-12-31 | 90692.0466 | 0 | 2792.2555 | 491.2486 | 3283.5041 | 87899.7911
18 | 212 | 2043 | 2043-01-31 | 87899.7911 | 0 | 2807.3802 | 476.1239 | 3283.5041 | 85092.4109
18 | 213 | 2043 | 2043-02-28 | 85092.4109 | 0 | 2822.5869 | 460.9172 | 3283.5041 | 82269.824
18 | 214 | 2043 | 2043-03-31 | 82269.824 | 0 | 2837.8759 | 445.6282 | 3283.5041 | 79431.9482
18 | 215 | 2043 | 2043-04-30 | 79431.9482 | 0 | 2853.2477 | 430.2564 | 3283.5041 | 76578.7005
18 | 216 | 2043 | 2043-05-31 | 76578.7005 | 0 | 2868.7028 | 414.8013 | 3283.5041 | 73709.9977
19 | 217 | 2043 | 2043-06-30 | 73709.9977 | 0 | 2884.2416 | 399.2625 | 3283.5041 | 70825.7561
19 | 218 | 2043 | 2043-07-31 | 70825.7561 | 0 | 2899.8646 | 383.6395 | 3283.5041 | 67925.8915
19 | 219 | 2043 | 2043-08-31 | 67925.8915 | 0 | 2915.5722 | 367.9319 | 3283.5041 | 65010.3193
19 | 220 | 2043 | 2043-09-30 | 65010.3193 | 0 | 2931.3649 | 352.1392 | 3283.5041 | 62078.9544
19 | 221 | 2043 | 2043-10-31 | 62078.9544 | 0 | 2947.2431 | 336.261 | 3283.5041 | 59131.7114
19 | 222 | 2043 | 2043-11-30 | 59131.7114 | 0 | 2963.2073 | 320.2968 | 3283.5041 | 56168.504
19 | 223 | 2043 | 2043-12-31 | 56168.504 | 0 | 2979.258 | 304.2461 | 3283.5041 | 53189.246
19 | 224 | 2044 | 2044-01-31 | 53189.246 | 0 | 2995.3957 | 288.1084 | 3283.5041 | 50193.8503
19 | 225 | 2044 | 2044-02-29 | 50193.8503 | 0 | 3011.6207 | 271.8834 | 3283.5041 | 47182.2296
19 | 226 | 2044 | 2044-03-31 | 47182.2296 | 0 | 3027.9337 | 255.5704 | 3283.5041 | 44154.2959
19 | 227 | 2044 | 2044-04-30 | 44154.2959 | 0 | 3044.335 | 239.1691 | 3283.5041 | 41109.9609
19 | 228 | 2044 | 2044-05-31 | 41109.9609 | 0 | 3060.8251 | 222.679 | 3283.5041 | 38049.1358
20 | 229 | 2044 | 2044-06-30 | 38049.1358 | 0 | 3077.4046 | 206.0995 | 3283.5041 | 34971.7312
20 | 230 | 2044 | 2044-07-31 | 34971.7312 | 0 | 3094.0739 | 189.4302 | 3283.5041 | 31877.6573
20 | 231 | 2044 | 2044-08-31 | 31877.6573 | 0 | 3110.8334 | 172.6706 | 3283.5041 | 28766.8239
20 | 232 | 2044 | 2044-09-30 | 28766.8239 | 0 | 3127.6838 | 155.8203 | 3283.5041 | 25639.1401
20 | 233 | 2044 | 2044-10-31 | 25639.1401 | 0 | 3144.6254 | 138.8787 | 3283.5041 | 22494.5147
20 | 234 | 2044 | 2044-11-30 | 22494.5147 | 0 | 3161.6588 | 121.8453 | 3283.5041 | 19332.8559
20 | 235 | 2044 | 2044-12-31 | 19332.8559 | 0 | 3178.7845 | 104.7196 | 3283.5041 | 16154.0714
20 | 236 | 2045 | 2045-01-31 | 16154.0714 | 0 | 3196.0029 | 87.5012 | 3283.5041 | 12958.0686
20 | 237 | 2045 | 2045-02-28 | 12958.0686 | 0 | 3213.3146 | 70.1895 | 3283.5041 | 9744.754
20 | 238 | 2045 | 2045-03-31 | 9744.754 | 0 | 3230.72 | 52.7841 | 3283.5041 | 6514.034
20 | 239 | 2045 | 2045-04-30 | 6514.034 | 0 | 3248.2197 | 35.2844 | 3283.5041 | 3265.8143
20 | 240 | 2045 | 2045-05-31 | 3265.8143 | 0 | 3265.8143 | 17.6898 | 3283.5041 | -2.2283e-11
21 | 241 | 2045 | 2045-06-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
21 | 242 | 2045 | 2045-07-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
21 | 243 | 2045 | 2045-08-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
21 | 244 | 2045 | 2045-09-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
21 | 245 | 2045 | 2045-10-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
21 | 246 | 2045 | 2045-11-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
21 | 247 | 2045 | 2045-12-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
21 | 248 | 2046 | 2046-01-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
21 | 249 | 2046 | 2046-02-28 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
21 | 250 | 2046 | 2046-03-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
21 | 251 | 2046 | 2046-04-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
21 | 252 | 2046 | 2046-05-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
22 | 253 | 2046 | 2046-06-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
22 | 254 | 2046 | 2046-07-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
22 | 255 | 2046 | 2046-08-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
22 | 256 | 2046 | 2046-09-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
22 | 257 | 2046 | 2046-10-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
22 | 258 | 2046 | 2046-11-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
22 | 259 | 2046 | 2046-12-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
22 | 260 | 2047 | 2047-01-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
22 | 261 | 2047 | 2047-02-28 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
22 | 262 | 2047 | 2047-03-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
22 | 263 | 2047 | 2047-04-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
22 | 264 | 2047 | 2047-05-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
23 | 265 | 2047 | 2047-06-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
23 | 266 | 2047 | 2047-07-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
23 | 267 | 2047 | 2047-08-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
23 | 268 | 2047 | 2047-09-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
23 | 269 | 2047 | 2047-10-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
23 | 270 | 2047 | 2047-11-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
23 | 271 | 2047 | 2047-12-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
23 | 272 | 2048 | 2048-01-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
23 | 273 | 2048 | 2048-02-29 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
23 | 274 | 2048 | 2048-03-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
23 | 275 | 2048 | 2048-04-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
23 | 276 | 2048 | 2048-05-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
24 | 277 | 2048 | 2048-06-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
24 | 278 | 2048 | 2048-07-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
24 | 279 | 2048 | 2048-08-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
24 | 280 | 2048 | 2048-09-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
24 | 281 | 2048 | 2048-10-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
24 | 282 | 2048 | 2048-11-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
24 | 283 | 2048 | 2048-12-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
24 | 284 | 2049 | 2049-01-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
24 | 285 | 2049 | 2049-02-28 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
24 | 286 | 2049 | 2049-03-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
24 | 287 | 2049 | 2049-04-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
24 | 288 | 2049 | 2049-05-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
25 | 289 | 2049 | 2049-06-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
25 | 290 | 2049 | 2049-07-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
25 | 291 | 2049 | 2049-08-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
25 | 292 | 2049 | 2049-09-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
25 | 293 | 2049 | 2049-10-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
25 | 294 | 2049 | 2049-11-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
25 | 295 | 2049 | 2049-12-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
25 | 296 | 2050 | 2050-01-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
25 | 297 | 2050 | 2050-02-28 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
25 | 298 | 2050 | 2050-03-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
25 | 299 | 2050 | 2050-04-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
25 | 300 | 2050 | 2050-05-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
26 | 301 | 2050 | 2050-06-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
26 | 302 | 2050 | 2050-07-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
26 | 303 | 2050 | 2050-08-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
26 | 304 | 2050 | 2050-09-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
26 | 305 | 2050 | 2050-10-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
26 | 306 | 2050 | 2050-11-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
26 | 307 | 2050 | 2050-12-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
26 | 308 | 2051 | 2051-01-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
26 | 309 | 2051 | 2051-02-28 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
26 | 310 | 2051 | 2051-03-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
26 | 311 | 2051 | 2051-04-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
26 | 312 | 2051 | 2051-05-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
27 | 313 | 2051 | 2051-06-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
27 | 314 | 2051 | 2051-07-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
27 | 315 | 2051 | 2051-08-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
27 | 316 | 2051 | 2051-09-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
27 | 317 | 2051 | 2051-10-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
27 | 318 | 2051 | 2051-11-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
27 | 319 | 2051 | 2051-12-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
27 | 320 | 2052 | 2052-01-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
27 | 321 | 2052 | 2052-02-29 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
27 | 322 | 2052 | 2052-03-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
27 | 323 | 2052 | 2052-04-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
27 | 324 | 2052 | 2052-05-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
28 | 325 | 2052 | 2052-06-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
28 | 326 | 2052 | 2052-07-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
28 | 327 | 2052 | 2052-08-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
28 | 328 | 2052 | 2052-09-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
28 | 329 | 2052 | 2052-10-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
28 | 330 | 2052 | 2052-11-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
28 | 331 | 2052 | 2052-12-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
28 | 332 | 2053 | 2053-01-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
28 | 333 | 2053 | 2053-02-28 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
28 | 334 | 2053 | 2053-03-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
28 | 335 | 2053 | 2053-04-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
28 | 336 | 2053 | 2053-05-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
29 | 337 | 2053 | 2053-06-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
29 | 338 | 2053 | 2053-07-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
29 | 339 | 2053 | 2053-08-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
29 | 340 | 2053 | 2053-09-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
29 | 341 | 2053 | 2053-10-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
29 | 342 | 2053 | 2053-11-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
29 | 343 | 2053 | 2053-12-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
29 | 344 | 2054 | 2054-01-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
29 | 345 | 2054 | 2054-02-28 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
29 | 346 | 2054 | 2054-03-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
29 | 347 | 2054 | 2054-04-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
29 | 348 | 2054 | 2054-05-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
30 | 349 | 2054 | 2054-06-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
30 | 350 | 2054 | 2054-07-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
30 | 351 | 2054 | 2054-08-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
30 | 352 | 2054 | 2054-09-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
30 | 353 | 2054 | 2054-10-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
30 | 354 | 2054 | 2054-11-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
30 | 355 | 2054 | 2054-12-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
30 | 356 | 2055 | 2055-01-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
30 | 357 | 2055 | 2055-02-28 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
30 | 358 | 2055 | 2055-03-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
30 | 359 | 2055 | 2055-04-30 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
30 | 360 | 2055 | 2055-05-31 | -2.2283e-11 | 0 | 0 | 0 | 0 | -2.2283e-11
Formulas:
Month = EOMONTH([Month, row above],1)

## Indicies
Pull-Down Lists and Other Calculations
Mounting Type
Roof Mount
Ground Mount
Canopy
Combination
Other
| Yes/No Selection |  |  | SREC Selection
| Yes |  |  | Retire
| No |  |  | Sell
Not Applicable
Calculation of receipt date of ITC Elective Payment
|  | Date Project Placed in Service: | 2025-06-30 |  | 0
|  | Tax Year Project Placed in Service: | 2025
|  | Filing Date of Tax Return: | 2026-04-15 | 4 | 15 | 2026
|  | Expected Date of Elective Payment: | 2026-07-15
Calculation of Project Years and Month Dates
Permanent Loan Closing Date: |  | 2025-06-30
| Project Year | Start of Month Date |  |  |  |  | Domestic Content Requirement Table
| 0 | 2024-04-01 |  |  |  |  | Commence construction: | 2024-03-31
| 0 | 2024-05-31 |  |  |  |  | Applicable rate for this project: | 40%
| 0 | 2024-06-30
| 0 | 2024-07-31 |  |  |  |  | Project starts construction by this date: | Applicable %
| 0 | 2024-08-31 |  |  |  |  | 2024-12-31 | 40% | • 40% for projects that begin construction prior to Jan. 1, 2025;
| 0 | 2024-09-30 |  |  |  |  | 2025-12-31 | 45% | • 45% for projects that begin construction after Dec. 31, 2024, but before Jan. 1, 2026;
| 0 | 2024-10-31 |  |  |  |  | 2026-12-31 | 50% | • 50% for projects that begin construction after Dec. 31, 2025, but before Jan. 1, 2027; and
| 0 | 2024-11-30 |  |  |  |  | 01/01/27 and later | 55% | • 55% for projects that begin construction after Dec. 31, 2026.
| 0 | 2024-12-31
| 0 | 2025-01-31
| 0 | 2025-02-28
| 0 | 2025-03-31
| 0 | 2025-04-30
| 0 | 2025-05-31
| 1 | 2025-06-30
| 1 | 2025-07-31
| 1 | 2025-08-31
| 1 | 2025-09-30
| 1 | 2025-10-31
| 1 | 2025-11-30
| 1 | 2025-12-31
| 1 | 2026-01-31
| 1 | 2026-02-28
| 1 | 2026-03-31
| 1 | 2026-04-30
| 1 | 2026-05-31
| 2 | 2026-06-30
| 2 | 2026-07-31
| 2 | 2026-08-31
| 2 | 2026-09-30
| 2 | 2026-10-31
| 2 | 2026-11-30
| 2 | 2026-12-31
| 2 | 2027-01-31
| 2 | 2027-02-28
| 2 | 2027-03-31
| 2 | 2027-04-30
| 2 | 2027-05-31
| 3 | 2027-06-30
| 3 | 2027-07-31
| 3 | 2027-08-31
| 3 | 2027-09-30
| 3 | 2027-10-31
| 3 | 2027-11-30
| 3 | 2027-12-31
| 3 | 2028-01-31
| 3 | 2028-02-29
| 3 | 2028-03-31
| 3 | 2028-04-30
| 3 | 2028-05-31
| 4 | 2028-06-30
| 4 | 2028-07-31
| 4 | 2028-08-31
| 4 | 2028-09-30
| 4 | 2028-10-31
| 4 | 2028-11-30
| 4 | 2028-12-31
| 4 | 2029-01-31
| 4 | 2029-02-28
| 4 | 2029-03-31
| 4 | 2029-04-30
| 4 | 2029-05-31
| 5 | 2029-06-30
| 5 | 2029-07-31
| 5 | 2029-08-31
| 5 | 2029-09-30
| 5 | 2029-10-31
| 5 | 2029-11-30
| 5 | 2029-12-31
| 5 | 2030-01-31
| 5 | 2030-02-28
| 5 | 2030-03-31
| 5 | 2030-04-30
| 5 | 2030-05-31
| 6 | 2030-06-30
| 6 | 2030-07-31
| 6 | 2030-08-31
| 6 | 2030-09-30
| 6 | 2030-10-31
| 6 | 2030-11-30
| 6 | 2030-12-31
| 6 | 2031-01-31
| 6 | 2031-02-28
| 6 | 2031-03-31
| 6 | 2031-04-30
| 6 | 2031-05-31
| 7 | 2031-06-30
| 7 | 2031-07-31
| 7 | 2031-08-31
| 7 | 2031-09-30
| 7 | 2031-10-31
| 7 | 2031-11-30
| 7 | 2031-12-31
| 7 | 2032-01-31
| 7 | 2032-02-29
| 7 | 2032-03-31
| 7 | 2032-04-30
| 7 | 2032-05-31
| 8 | 2032-06-30
| 8 | 2032-07-31
| 8 | 2032-08-31
| 8 | 2032-09-30
| 8 | 2032-10-31
| 8 | 2032-11-30
| 8 | 2032-12-31
| 8 | 2033-01-31
| 8 | 2033-02-28
| 8 | 2033-03-31
| 8 | 2033-04-30
| 8 | 2033-05-31
| 9 | 2033-06-30
| 9 | 2033-07-31
| 9 | 2033-08-31
| 9 | 2033-09-30
| 9 | 2033-10-31
| 9 | 2033-11-30
| 9 | 2033-12-31
| 9 | 2034-01-31
| 9 | 2034-02-28
| 9 | 2034-03-31
| 9 | 2034-04-30
| 9 | 2034-05-31
| 10 | 2034-06-30
| 10 | 2034-07-31
| 10 | 2034-08-31
| 10 | 2034-09-30
| 10 | 2034-10-31
| 10 | 2034-11-30
| 10 | 2034-12-31
| 10 | 2035-01-31
| 10 | 2035-02-28
| 10 | 2035-03-31
| 10 | 2035-04-30
| 10 | 2035-05-31
| 11 | 2035-06-30
| 11 | 2035-07-31
| 11 | 2035-08-31
| 11 | 2035-09-30
| 11 | 2035-10-31
| 11 | 2035-11-30
| 11 | 2035-12-31
| 11 | 2036-01-31
| 11 | 2036-02-29
| 11 | 2036-03-31
| 11 | 2036-04-30
| 11 | 2036-05-31
| 12 | 2036-06-30
| 12 | 2036-07-31
| 12 | 2036-08-31
| 12 | 2036-09-30
| 12 | 2036-10-31
| 12 | 2036-11-30
| 12 | 2036-12-31
| 12 | 2037-01-31
| 12 | 2037-02-28
| 12 | 2037-03-31
| 12 | 2037-04-30
| 12 | 2037-05-31
| 13 | 2037-06-30
| 13 | 2037-07-31
| 13 | 2037-08-31
| 13 | 2037-09-30
| 13 | 2037-10-31
| 13 | 2037-11-30
| 13 | 2037-12-31
| 13 | 2038-01-31
| 13 | 2038-02-28
| 13 | 2038-03-31
| 13 | 2038-04-30
| 13 | 2038-05-31
| 14 | 2038-06-30
| 14 | 2038-07-31
| 14 | 2038-08-31
| 14 | 2038-09-30
| 14 | 2038-10-31
| 14 | 2038-11-30
| 14 | 2038-12-31
| 14 | 2039-01-31
| 14 | 2039-02-28
| 14 | 2039-03-31
| 14 | 2039-04-30
| 14 | 2039-05-31
| 15 | 2039-06-30
| 15 | 2039-07-31
| 15 | 2039-08-31
| 15 | 2039-09-30
| 15 | 2039-10-31
| 15 | 2039-11-30
| 15 | 2039-12-31
| 15 | 2040-01-31
| 15 | 2040-02-29
| 15 | 2040-03-31
| 15 | 2040-04-30
| 15 | 2040-05-31
| 16 | 2040-06-30
| 16 | 2040-07-31
| 16 | 2040-08-31
| 16 | 2040-09-30
| 16 | 2040-10-31
| 16 | 2040-11-30
| 16 | 2040-12-31
| 16 | 2041-01-31
| 16 | 2041-02-28
| 16 | 2041-03-31
| 16 | 2041-04-30
| 16 | 2041-05-31
| 17 | 2041-06-30
| 17 | 2041-07-31
| 17 | 2041-08-31
| 17 | 2041-09-30
| 17 | 2041-10-31
| 17 | 2041-11-30
| 17 | 2041-12-31
| 17 | 2042-01-31
| 17 | 2042-02-28
| 17 | 2042-03-31
| 17 | 2042-04-30
| 17 | 2042-05-31
| 18 | 2042-06-30
| 18 | 2042-07-31
| 18 | 2042-08-31
| 18 | 2042-09-30
| 18 | 2042-10-31
| 18 | 2042-11-30
| 18 | 2042-12-31
| 18 | 2043-01-31
| 18 | 2043-02-28
| 18 | 2043-03-31
| 18 | 2043-04-30
| 18 | 2043-05-31
| 19 | 2043-06-30
| 19 | 2043-07-31
| 19 | 2043-08-31
| 19 | 2043-09-30
| 19 | 2043-10-31
| 19 | 2043-11-30
| 19 | 2043-12-31
| 19 | 2044-01-31
| 19 | 2044-02-29
| 19 | 2044-03-31
| 19 | 2044-04-30
| 19 | 2044-05-31
| 20 | 2044-06-30
| 20 | 2044-07-31
| 20 | 2044-08-31
| 20 | 2044-09-30
| 20 | 2044-10-31
| 20 | 2044-11-30
| 20 | 2044-12-31
| 20 | 2045-01-31
| 20 | 2045-02-28
| 20 | 2045-03-31
| 20 | 2045-04-30
| 20 | 2045-05-31
| 21 | 2045-06-30
| 21 | 2045-07-31
| 21 | 2045-08-31
| 21 | 2045-09-30
| 21 | 2045-10-31
| 21 | 2045-11-30
| 21 | 2045-12-31
| 21 | 2046-01-31
| 21 | 2046-02-28
| 21 | 2046-03-31
| 21 | 2046-04-30
| 21 | 2046-05-31
| 22 | 2046-06-30
| 22 | 2046-07-31
| 22 | 2046-08-31
| 22 | 2046-09-30
| 22 | 2046-10-31
| 22 | 2046-11-30
| 22 | 2046-12-31
| 22 | 2047-01-31
| 22 | 2047-02-28
| 22 | 2047-03-31
| 22 | 2047-04-30
| 22 | 2047-05-31
| 23 | 2047-06-30
| 23 | 2047-07-31
| 23 | 2047-08-31
| 23 | 2047-09-30
| 23 | 2047-10-31
| 23 | 2047-11-30
| 23 | 2047-12-31
| 23 | 2048-01-31
| 23 | 2048-02-29
| 23 | 2048-03-31
| 23 | 2048-04-30
| 23 | 2048-05-31
| 24 | 2048-06-30
| 24 | 2048-07-31
| 24 | 2048-08-31
| 24 | 2048-09-30
| 24 | 2048-10-31
| 24 | 2048-11-30
| 24 | 2048-12-31
| 24 | 2049-01-31
| 24 | 2049-02-28
| 24 | 2049-03-31
| 24 | 2049-04-30
| 24 | 2049-05-31
| 25 | 2049-06-30
| 25 | 2049-07-31
| 25 | 2049-08-31
| 25 | 2049-09-30
| 25 | 2049-10-31
| 25 | 2049-11-30
| 25 | 2049-12-31
| 25 | 2050-01-31
| 25 | 2050-02-28
| 25 | 2050-03-31
| 25 | 2050-04-30
| 25 | 2050-05-31
| 26 | 2050-06-30
| 26 | 2050-07-31
| 26 | 2050-08-31
| 26 | 2050-09-30
| 26 | 2050-10-31
| 26 | 2050-11-30
| 26 | 2050-12-31
| 26 | 2051-01-31
| 26 | 2051-02-28
| 26 | 2051-03-31
| 26 | 2051-04-30
| 26 | 2051-05-31
| 27 | 2051-06-30
| 27 | 2051-07-31
| 27 | 2051-08-31
| 27 | 2051-09-30
| 27 | 2051-10-31
| 27 | 2051-11-30
| 27 | 2051-12-31
| 27 | 2052-01-31
| 27 | 2052-02-29
| 27 | 2052-03-31
| 27 | 2052-04-30
| 27 | 2052-05-31
| 28 | 2052-06-30
| 28 | 2052-07-31
| 28 | 2052-08-31
| 28 | 2052-09-30
| 28 | 2052-10-31
| 28 | 2052-11-30
| 28 | 2052-12-31
| 28 | 2053-01-31
| 28 | 2053-02-28
| 28 | 2053-03-31
| 28 | 2053-04-30
| 28 | 2053-05-31
| 29 | 2053-06-30
| 29 | 2053-07-31
| 29 | 2053-08-31
| 29 | 2053-09-30
| 29 | 2053-10-31
| 29 | 2053-11-30
| 29 | 2053-12-31
| 29 | 2054-01-31
| 29 | 2054-02-28
| 29 | 2054-03-31
| 29 | 2054-04-30
| 29 | 2054-05-31
| 30 | 2054-06-30
| 30 | 2054-07-31
| 30 | 2054-08-31
| 30 | 2054-09-30
| 30 | 2054-10-31
| 30 | 2054-11-30
| 30 | 2054-12-31
| 30 | 2055-01-31
| 30 | 2055-02-28
| 30 | 2055-03-31
| 30 | 2055-04-30
| 30 | 2055-05-31
| 31 | 2055-06-30
| 31 | 2055-07-31
| 31 | 2055-08-31
| 31 | 2055-09-30
| 31 | 2055-10-31
| 31 | 2055-11-30
| 31 | 2055-12-31
| 31 | 2056-01-31
| 31 | 2056-02-29
| 31 | 2056-03-31
| 31 | 2056-04-30
| 31 | 2056-05-31
| 32 | 2056-06-30
| 32 | 2056-07-31
| 32 | 2056-08-31
| 32 | 2056-09-30
| 32 | 2056-10-31
Formulas:
Start of Month Date = EOMONTH([Start of Month Date, row above],1)